## Slide 1: Why Grid Batteries?
Jeff Seidman
Vassar College
jeseidman@vassar.edu

## Slide 2
Battery Systems

## Slide 3: Battery costs are plummeting

## Slide 4: Grid-scale battery deployment is growing exponentially, in the U.S. and around the globe

## Slide 6: Why do grid-operators want batteries? Economics + Resilience

## Slide 7: 1. Access to cheaper power

## Slide 8: New York: “A Tale of 2 Grids”

## Slide 9
Danskammer dual-fuel (gas and oil) “Peaker” Plant

## Slide 13: June 24, 2025
10:32 AM
3:40 PM
5:57 PM

## Slide 14: Texas tamed its price spikes…

## Slide 15: …by deploying batteries

## Slide 16: 2. Avoiding expensive grid upgrades

## Slide 17: We size the grid to meet peak demand

## Slide 18: After 20 years flat, electricity demand is growing fast
Source: https://www.nyiso.com/documents/20142/2223020/2024-Power-Trends.pdf

## Slide 19: 2x-ing grid for 2x current peaks would be very expensive.

## Slide 20: Grid upgrades are already raising electricity bills across the country
Source: U.S. Energy Information Administration www.eia.gov/todayinenergy/detail.php?id=64384

## Slide 21
  Source: https://powerlines.org/wp-content/uploads/2025/04/PowerLines_Utility-Bills-Are-Rising_2025-1.pdf

## Slide 22: Batteries allow us to get more use out of infrastructure we’ve bought and paid for

## Slide 23: …and they help grid avoid outages

## Slide 24: ...as Texas has done

## Slide 25: Local decisions will either enable this strategy, or block it
2024 study:
Deploying 6000 MW of batteries by 2030 will save NY customers $2 billion

## Slide 26: Addendum: Fire safety

## Slide 27: Moss Landing, CA

## Slide 28: Moss Landing, CA
Batteries Indoors, in re-purposed turbine hall
Packed together, horizontally & vertically
NMC (Nickel, Manganese, Cobalt) batteries
Could not be built today!

## Slide 29
The following requirements were adopted in 2025 Fire Code of New York State (NYS) based on recommendations from the NYS Inter-Agency Fire Safety Working Group:
  Peer Review
  ERPs and Fire Department Training
  Hazard Support Personnel / Fire Mitigation Personnel
  Explosion Control / Cabinet Exemptions
  Systems Monitoring
  Central Station Monitoring
  Periodic Inspections
  Security of Installations
  Extended Signage
New York’s new Fire Code is most advanced in the US

## Slide 30: PRIMARY ESS CODES & STANDARDS
National Codes & Standards
Primary Codes / Standards for ESS Installations:
2024 International Fire Code (IFC)
  2025 NYS Uniform Fire Prevention Code Chapter 12 ( Section 1207 )
  NYS Code Allows for Peer Review and Subject Matter Expert (Fire Remediation) (Optional)
NFPA 855 (2023 Edition): Standard for the Installation of Stationary Energy Storage Systems
  Fire Protection Systems including:
    Explosion Protection to NFPA 69 - Exhaust Ventilation or NFPA 68 - Deflagration Venting
    Automatic Fire Alarm and Detection – NFPA 72
Listings / Certifications for ESS and Associated Equipment:
UL 9540: Standard for Energy Storage Systems and Equipment
  Includes:
  UL 1973 for cell, battery, rack
  UL 1741 for inverters
Large-Scale Fire Testing:
UL 9540A: Standard for Test Method for Evaluating Thermal Runaway Fire Propagation in Battery Energy Storage Systems

## Slide 31: Modern BESS
Outdoor cabinets
Spaced according to UL9540a test results, so that fire cannot propagate beyond one container
Lithium Iron Phosphate (LFP) -- no Nickel, Manganese, Cobalt

## Slide 32: Warwick, NY
“Successful failure”

## Slide 33: What about toxins?
The most concerning toxins in BESS smoke are carbon monoxide, hydrogen fluoride, & hydrogen cyanide
During every fire incident: live air monitoring at site permitter
Immediately after every fire incident: DEC or EPA testing of soil, water, swabbing of nearby surfaces
Same as a house fire
In no case have elevated toxin levels been found in air beyond the fenceline
At Moss Landing: Nickel, Manganese, and Cobalt in soil.
In no other case has any toxic residue been found in soil or water beyond fenceline.

## Slide 34: Best practice: let it self-consume, like…

## Slide 35: Grid batteries are new to people’s experience
They are less dangerous than other infrastructure we accept and depend on.

## Slide 36: Questions?
Jeff Seidman
Vassar College
jeseidman@vassar.edu